- 1、Software Installation

1，Find the software source file or download the corresponding application software from the dealer, double-click to open the installation，And read the installation tips carefully.

2，The installation interface pops up. First, install the decoder, as shown in the following figure. Click "Next" continuously until "Finish" is completed, and check the parameters to keep them default; (If the system has antivirus software installed, you need to exit first before installing)

3，After completing the installation of the encoder, the software installation interface will pop up; You can choose to check the Create Desktop icon and Create Quick Launch icon as needed; Select and click 'Next'

4，After confirming the settings, click 'Install'

5，Continuously click Next and keep the parameter checked as default until the installation is completed;

- After the installation is completed, check the option to restart the computer, click "Finish", the computer will automatically restart, and then click to open the software to enter the application.

- Use of software:

- To open the main interface of the software, it is necessary to provide a dedicated brand of device to open the real-time image screen, otherwise an "error" prompt will pop up;

- Note: Double clicking on the blank space in the control bar can cause the left and right tools to switch positions; Double click on the screen to lock the current screen position, and double click again to unlock.

- 2， Introduction to Annotation Toolbar:

2.1                   Mouse Button: After clicking, restore to the mouse operation state, and move the screen or click other buttons.

2.2                 Writing Button：After clicking, a single point can write and annotate the simulated chalk on the screen at will; Support multiple simultaneous writing points, and can open the color palette and line selection to adjust the writing color and stroke thickness; Transparency can be set and automatically cleared when switching to other interfaces.

2.3                  Draw straight line Button：After clicking, the current screen can be marked with a straight line; And can adjust the color palette and line selection, adjust the writing color and stroke thickness; Transparency can be set and automatically cleared when switching to other interfaces.

2.4                  Draw Dashed Button: After clicking, the current screen can be marked with dashed lines; And can adjust the color palette and line selection, adjust the writing color and stroke thickness; Transparency can be set and automatically cleared when switching to other interfaces.

2.5    	Draw Arrow Button：After clicking, arrows can be drawn to indicate the current screen. And can adjust the color palette to adjust the writing color; Transparency can be set and automatically cleared when switching to other interfaces.

2.6 	Text input Button：After clicking, you can input text in any area of the current screen. And the color palette can be adjusted to adjust the writing color, and it will automatically clear after switching to other interfaces.

2.7 Line width selection Button: After clicking, you can adjust the width of free lines, straight lines, and dashed lines. There are a total of 7 line widths to choose from.

2.8 	Clear screen Button: After clicking, all annotations on the current screen will be cleared; At this point, attention should be paid to saving the document.

2.9 	Blackboard eraser Button：After clicking, the annotation on the current screen can be partially erased; You can choose the size of the eraser.

2.10 	Hollow pattern Buttons：After clicking, a submenu will pop up, where you can choose from three types of hollow patterns: circular, square, and triangular. When using, click on the relevant area and stretch to obtain the desired pattern size. After switching to other interfaces, it will automatically clear.

2.11 	Solid pattern Button：After clicking, a submenu will pop up, where you can choose from three solid patterns: circular, square, and triangular. When using, click on the relevant area and stretch to obtain the desired pattern size. After switching to other interfaces, it will automatically clear.

2.12 	Palette Buttons：After clicking, a color palette module will pop up, where you can adjust any desired color as needed and save and add 16 commonly used colors. Colors can be applied to drawing lines and drawing tools.

2.13              Save Button：After clicking, make a full screen save of the current screen, including expanding the booth screen, labeling patterns, annotations, etc.

2.14 	Folder Button: After clicking, it defaults to the image save path folder, making it easy to access saved images.

2.15 	Annotation Bar Hide Button: Click to hide the annotation bar, and click again to pop up the annotation bar.

3,   Introduction to the Control Toolbar

3.0	Auto focus Button:  click once, the camera will perform a focus action, and the pallet needs to be placed with the focus parameters first.

3.1 	Set Button: Click on the pop-up settings submenu to select the PPT opening path, image saving path, and image saving format.

3.2 	1:1button: After clicking, the screen will be displayed at 100% of the actual pixels, and you can freely drag the screen.

3.3 	Initial screen Button：After clicking, the screen returns to the initial screen state.

3.4	Zoom in Button：With each click, the image undergoes a level one digital zoom and magnification, with continuous clicks reaching a maximum of 2000%.

3.5                 Zoom out Button:With each click, the screen undergoes a level one digital zoom reduction, with continuous clicks reaching a minimum of 1%.

3.6                 Left rotation Button: Each click rotates the screen counterclockwise by 90 degrees in sequence.

3.7	Right rotation Button: Each click rotates the screen clockwise by 90 degrees.

3.8               Split screen comparison button: After clicking, the screen is divided into two left and right screens. The left screen is a freeze frame screen, and editing can be changed. The right screen is a real-time shooting screen.

3.9              Camera Button: Each click saves the current camera image once, and the saved image is located in the set path folder.Click on the folder icon in the annotation bar to directly open the folder to view images.

3.10              Image settings: After clicking, a camera parameter menu will pop up, allowing you to adjust image related parameters according to the actual usage environment.

3.11              Freeze: Click once to freeze the current screen, used to change display materials without affecting the viewer's attention.

3.12               Full screen: After clicking, hide the taskbar to maximize the display screen; Click again to exit full screen.

3.13              Spotlight: After clicking, the screen transitions to a spotlight state. Move the spotlight point and choose the position you want to focus on. Pull the window's top, bottom, left, and right borders to select the size.

3.14              Negative film: After clicking, the screen transitions to a negative film state; Click Restore again.

- 4,   Introduction to Navigation Module:

- 4.1Same screen contrast Module: After clicking, the same screen comparison interface will pop up, where you can select 1, 2, 3, 4, and 16 images in multiple formats on the same screen, Each grid can be individually clicked on the folder to retrieve images and can be rotated, zoomed in or out for editing, You can also directly press the camera icon to capture real-time images of the visual presenter，Click the full screen button to enlarge the image to full screen,

Click the return button again，return to the same screen state.

4.2PPT Slide Module: When opening for the first time, a prompt will pop up indicating that the PPT program opening path for the computer needs to be set in the settings. After setting it, click to directly start the PPT program.

4.6	Visual presenter Module: After clicking, the main interface switches to the physical display interface.

4.7	Desktop module: After clicking, quickly switch to desktop mode while keeping the annotation bar at the front end, allowing for any annotations.

4.8	Exit: Click to exit the software directly.